## Sheet1
DANH MỤC THIẾT BỊ THIẾT BỊ THÍ NGHIỆM CẦN MUA SẮM
Stt | Tên vật tư/mô tả | Thông số kỹ thuật | Nhà sản xuất | Đơn vị | Số lượng
I | Thiết bị đo VDT
1 | Digital Microhmmeter | 1 Bộ gồm máy đo và phụ kiện kèm theo máy: '- DLRO600 High Current Digital Low Resistance Ohmmeter (English QWERTY keyboard), part number: DLRO600-EN; - Included accessories: + 5 m (16.4 ft.) Lead set set comprising 2 x 50 mm2 current leads with clips and 2 potential leads with clips, part number: 6220-755 (6220-755 supplied as standard with DLRO600-EN); + Download Manager, part number: 6111-442; + User Guide on CD-ROM, part number: 6172-763; + RS232 download cable, part number: 25955-025; + Quick Start Guide (English), part number: 6172-782; * Hướng dẫn sử dụng dịch sang Tiếng Việt; * Có CQ, CO, kiểm tra xuất xưởng; * Chứng nhận kiểm định của cơ quan nhà nước có chức năng của Việt Nam; | Megger | Bộ | 1
2 | TEST LEAD SET | 6220-757 15m Lead set 2 x 95mm2 current leads with clamps and 2 x potential leads with clips. Lead set consists of pair of flexible high current capacity (600 A cont.) leads, together with a separate pair of lightweight potential leads. Current leads are fitted with heavy duty sprung clamps (60 mm jaw capacity). Potential leads fitted with smaller HD crocodile clips 22 mm jaw capacity). Supplied as standard with DLRO600-EN | Megger | Bộ | 1
3 | Test Lead Wire with Silicone Insulation | 50ft (15.2m) of unterminated 18 AWG test lead wire 50ft (15.2m lengths only.) • Choose from heat-resistant silicone Very flexible with 192 strands of 41 AWG base copper conductor. • Wear indication with double insulated silicone leads for increased safety. • Create your own test leads with the adapters shown below. • Wide temperature range of -58 to 302°F (-50 to 150°C) with PVC insulation. *Std. Colors: -0 Black Model# 6733-0 | Pomona | Bộ | 2
4 | Test Lead Wire with Silicone Insulation | 50ft (15.2m) of unterminated 18 AWG test lead wire 50ft (15.2m lengths only.) • Choose from heat-resistant silicone Very flexible with 192 strands of 41 AWG base copper conductor. • Wear indication with double insulated silicone leads for increased safety. • Create your own test leads with the adapters shown below. • Wide temperature range of -58 to 302°F (-50 to 150°C) with PVC insulation. *Std. Colors: -2 Red Model# 6733-2 | Pomona | Bộ | 2
5 | Do-It-Yourself 4mm Stackable Banana Plug | Build your own safety stacking leads with do-it-yourself safety-sheathed 4mm stackable banana plugs. Material: Contacts: nickel-plated brass, Insulation: lucel acetal polymer. Rating: IEC61010 1000V Category III**, 20A, 14 to 131°F (-10 to +55°C). *Std. Colors: -0 Black, Model# 6721-0 | Pomona | Cái | 8
6 | Do-It-Yourself 4mm Stackable Banana Plug | Build your own safety stacking leads with do-it-yourself safety-sheathed 4mm stackable banana plugs. Material: Contacts: nickel-plated brass, Insulation: lucel acetal polymer. Rating: IEC61010 1000V Category III**, 20A, 14 to 131°F (-10 to +55°C). *Std. Colors: -2 Red Model# 6721-2 | Pomona | Cái | 8
7 | Do-It-Yourself 4mm Right Angle Banana Plug | Build your own safety leads with do-ityourself safety-sheathed 4mm right-angle banana plug. Material: Contacts: nickel-plated brass; Insulation: lucel acetal polymer. Rating: IEC61010 1000V Category III**, 20A, 14 to 131°F (-10 to +55°C). *Std. Colors: -0 Black. Model# 6729-0 | Pomona | Cái | 8
8 | Do-It-Yourself 4mm Right Angle Banana Plug | Build your own safety leads with do-ityourself safety-sheathed 4mm right-angle banana plug. Material: Contacts: nickel-plated brass; Insulation: lucel acetal polymer. Rating: IEC61010 1000V Category III**, 20A, 14 to 131°F (-10 to +55°C). *Std. Colors: -2 Red Model# 6729-2 | Pomona | Cái | 8
9 | Electronic DMM Maxi-Kit | 1. Silicone insulated 4ft (1.2m) leads. 2. Modular probe set. 3. Precision electronic probes. 4. 4 sets of replacements tips. 5. Test lead couplers. 6. Medium alligator clips. 7. Large alligator clips. 8. Minigrabber® test clip leads. 9. Minipincer® test clip leads. 10. Spade lugs. 11. Nylon storage pouch. • Modular probes with caged-spring tips fit 4mm sockets. • Silicone insulated 4ft (1.2m) test leads with right-angle DMM plugs fit most meters from Fluke, HP, Meterman, Amprobe, Greenlee and others. • Precision Electronic probe with replacement tips offers flexibility in testing. • Minigrabber® and Minipincer® test clip leads for smaller test points. • Nylon storage pouch with compartments for accessories Model# 6340 | Pomona | Bộ | 1
10 | Fluke TL221 SureGrip™ Test Lead Extenders | Fluke TL221 SureGrip™ Test Lead Extenders Part#: 2003602 UPC#: 0 95969 20643 3 One pair (red, black) of silicone insulated leads with straight connectors on both ends Reinforced strain relief Includes one pair (red, black) of female couplers Extends test leads by 1.5 m 600 V CAT IV, 1000 V CAT III, 10 A rating. UL listed type: TL221 - Có CQ, CO | Fluke | Bộ | 2
11 | Fluke TP220 SureGrip™ Industrial Test Probes | Fluke TP220 SureGrip™ Industrial Test Probes Fluke TP220 Part#: 1670056 UPC#: 0 95969 13320 3 type: TP220 - Có CQ, CO | Fluke | Bộ | 1
II | Bộ Kit thí nghiệm phục vụ công tác thí nghiệm AVR/PSS, kiểm tra chuyên sâu các tổ máy
1 | MSOX3024G Mixed Signal Oscilloscope (Bộ thí nghiệm cần 8 kênh để thu sóng) | MSOX3024G Mixed Signal Oscilloscope: 200 MHz, 4 Analog Plus 16 Digital Channel, fearture: 200 MHz 4 analog plus 16 digital channels Easily view and analyze your signals with on the large 8.5-inch capacitive touch screen Isolate signals in seconds with exclusive zone touch triggering See more signal detail with the 1,000,000 wfms/s update rate Capture more data with up to 4 Mpts memory Included: - Embedded Software Package (D3000GENB) - PathWave BenchVue Oscilloscope Software (BV004B) Transportable Perpetual License - Waveform and measurement histograms - Instrument integration: oscilloscope (with LAN / VGA connectivity module), protocol analyzer, frequency response analyzer (Bode plots), 20 MHz arbitrary waveform generator, 3-digit voltmeter, 8-digital counter and totalizer, and mixed-signal oscilloscope for 16 digital channels - N2843A passive probe: 500 MHz, 10:1 attenuation (1 per channel) N2756A 16 digital channel MSO cable - Factory 3-year warranty (90 days for unserialized accessories such as passive probes) - KeysightCare technical support - Certificate of calibration, 3-year calibration interval Secure erase - Multi-language interface and help: English, Chinese (simplified), Chinese (traditional), Czech, French, German, Italian, Japanese, Korean, Portuguese, Russian, Spanish, Polish, Thai, Turkish - Documentation CD containing localized user’s guide, service guide, and programmer’s manual - Localized power cord and overlay - 01 Soft carrying case for 3000 X-Series oscilloscopes. - Bao gồm đào tạo sử dụng tất cả các chức năng của MSOX3024G Oscilloscope. | Keysight | Bộ | 1
2 | DSOX1204G Oscilloscope (Bộ thí nghiệm cần 8 kênh để thu sóng) | DSOX1204G Oscilloscope 70/100/200 MHz, 4 Analog Channels, with a Built-in Waveform Generator, included: - 70MHz Bandwidth, 4 channel - Built-in 20 MHz function generator - Built-in training signals - Bode plots are fundamental concepts - BenchVue Software with the BV0004B BenchVue Oscilloscope app Transportable Perpetual License - 04 N2140A probes included standard with DSOX1204G - 01 DSOXBODE Bode plot training kit - 01 Soft carrying case for 1000 X-Series oscilloscopes. - Hướng dẩn sử dụng tất cả các chức năng của DSOX1204G Oscilloscope. | Keysight | Bộ | 1
3 | N2141A Passive Probe Accessory Kit for N2140A | N2141A Accessory Kit For N2140A Passive Probe, Includes all the standard accessories for N2140A passive probes, including retractable hook, adjustment tool, and more, 2 Sets: - retractable hook - adjustment tool - protective cap - identification tags (green and yellow) - 2 each - ground spring - alligator clip | Keysight | Bộ | 4
4 | EDU33212A Waveform generator | EDU33212A Waveform generator included: - 01 EDU33212A Waveform generator: 20 MHz, 2-channel - 01 KeysightCare Technical Support - 3 years - 01 Return to Keysight Warranty - 3 years - Keysight's PathWave BenchVue software to enable PC control - BenchVue Software with the BV0002B Function Generator Control App Transportable Perpetual License - Hướng dẩn sử dụng tất cả các chức năng của EDU33212A Waveform generator. | Keysight | Bộ | 1
5 | Analyzing Computer (Máy tính cài đặt Bộ phần mềm chuyên dụng dụng phân tích, xử lý dữ liệu AVR-PSS) | Precision 5490 Workstation: - Processor: Intel® Core™ Ultra 9 185H, vPro® Enterprise (16 cores, up to 5.1 GHz, 45 W). - Operating System: Windows 11 Pro, English. - Systems Management:Intel vPro Enterprise Technology Enabled - Chassis Options: Intel® Core™ Ultra 9 185H Processor with vPro, 32GB, RTX™ 1000 Ada. - Memory 32 GB: LPDDR5x, 7467 MT/s, dual-channel (onboard). - Graphics: NVIDIA® RTX™ 1000 Ada Generation, 6 GB GDDR6 - Display: 14" FHD+ Non-touch, 1920 x 1200, 60Hz, 500 nits, WLED, 100% sRGB, Low Blue Light, IR Camera and Mic. - Storage 1 TB, M.2 2280, Gen 4 PCIe NVMe, SSD, Class 40. - Keyboard: English US backlit Copilot key keyboard with fingerprint reader. - Primary Battery: 4 Cell, 72 Wh. - Included Microsoft Office: Microsoft Office Home & Business 2024 + Foxit PDF Editor with AI Assistant. - Included: Dell EcoLoop Pro Classic Briefcase 14 - Included: Dell Thunderbolt Dock – WD22TB4 - Included: Installed Keysight BenchVue Software Platform, BenchVue Oscilloscope app, Function Generator Control App. - Hướng dẩn sử dụng Keysight BenchVue Software, BenchVue Function Generator Control App, Function Generator Control App, Programming for the Keysight DSOX1204G, MSOX3024G Oscilloscope. | Dell | Bộ | 1
6 | BNC Cable | PX0105A Low Inductance BNC Cable, VOLT:DC 60V PX0105A-002: 3.0 meter | Keysight | Cái | 2
7 | Passive Probe Accessories | Passive Probe Accessories, Included: - 01 PK007-022 Adapter, 2 mm plug - 01 PK1-5MM-116 Flexible Adapter 5.0 to 2 mm banana plug - 01 PK1-5MM-123 HF Compensated Ground Lead 22 cm - 01 Ground Lead 22 cm to 2 mm banana plug | LeCroy | Bộ | 8
8 | Black Test Plug | Item number 22.2609-21 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Black Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
9 | Red Test Plug | Item number 22.2609-22 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Red Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
10 | Blue Test Plug | Item number 22.2609-23 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Blue Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
11 | Yellow Test Plug | Item number 22.2609-24 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Yellow Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
12 | Green Test Plug | Item number 22.2609-25 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Green Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
13 | Pink Test Plug | Item number 22.2609-26 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Pink Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
14 | Brown Test Plug | Item number 22.2609-27 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Brown Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
15 | Gray Test Plug | Item number 22.2609-28 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : Gray Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
16 | White Test Plug | Item number 22.2609-29 Diameter of plug system : 2 mm Rated Values: 30 V, 10 A / 60 V, 10 A Surface treatment electrical contact: Au Base material electrical contact: CuZn Standard color(s) : White Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 10
17 | Black Stackable plug | Item number 65.9182-21 Diameter of plug system Rated Values Surface treatment electrical contact Base material electrical contact Standard color(s) : Black Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 20
18 | Red Stackable plug | Item number 65.9182-22 Diameter of plug system Rated Values Surface treatment electrical contact Base material electrical contact Standard color(s) : Red Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 20
19 | Blue Stackable plug | Item number 65.9182-23 Diameter of plug system Rated Values Surface treatment electrical contact Base material electrical contact Standard color(s) : Blue Test accessory acc. To | Staubli | Cái | 20
20 | Yellow Stackable plug | Item number 65.9182-24 Diameter of plug system Rated Values Surface treatment electrical contact Base material electrical contact Standard color(s) : Yellow Test accessory acc. To | Staubli | Cái | 20
21 | Green Stackable plug | Item number 65.9182-25 Diameter of plug system Rated Values Surface treatment electrical contact Base material electrical contact Standard color(s) : Black Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 20
22 | White Stackable plug | Item number 65.9182-29 Diameter of plug system Rated Values Surface treatment electrical contact Base material electrical contact Standard color(s) : Black Test accessory acc. To: IEC EN 61010-031 | Staubli | Cái | 20
23 | Red Connector Test Lead | Staubli 2 mm Connector Test Lead, 10A, 600V, Red, 1m Lead Length 600 V, CAT II / 10 A rating Stackable MULTILAM plugs Colour coded insulation: red Flexible PVC cable insulation Type: SLK205-K | Staubli | Cái | 10
24 | Black Connector Test Lead | Staubli 2 mm Connector Test Lead, 10A, 600V, Black, 1m Lead Length 600 V, CAT II / 10 A rating Stackable MULTILAM plugs Colour coded insulation: Black Flexible PVC cable insulation Type: SLK205-K | Staubli | Cái | 10
25 | Red Connector Test Lead | Staubli 2 mm Connector Test Lead, 10A, 600V, Red, 0.3m Lead Length 600 V, CAT II / 10 A rating Stackable MULTILAM plugs Colour coded insulation: red Flexible PVC cable insulation Type: SLK205-K | Staubli | Cái | 10
26 | Black Connector Test Lead | Staubli 2 mm Connector Test Lead, 10A, 600V, Black, 0.3m Lead Length 600 V, CAT II / 10 A rating Stackable MULTILAM plugs Colour coded insulation: Black Flexible PVC cable insulation Type: SLK205-K | Staubli | Cái | 10
27 | Fluke TL221 SureGrip™ Test Lead Extenders | Fluke TL221Part#: 2003602 UPC#: 0 95969 20643 3 One pair (red, black) of silicone insulated leads with straight connectors on both ends Reinforced strain relief Includes one pair (red, black) of female couplers Extends test leads by 1.5 m 600 V CAT IV, 1000 V CAT III, 10 A rating. UL listed | Fluke | BỘ | 10
28 | Fluke TLK287 Electronics Master Test Lead Set | Models: Fluke TLK287 Electronics Master Test Lead Set Fluke-TLK287Part#: 3045631 UPC#: 0 95969 41785 3 Includes: Precision electronic probes with multiple spring-loaded sharp tips to maximize contact with SMD test points Micro-grabbers and leads to enable fine SMD test Mini-alligator clips, grabbers, and probes for virtually every electronics need | Fluke | BỘ | 1
29 | Fluke TL970 Hook and Pincer Set | Models: Fluke TL970 Hook and Pincer Set Fluke TL970Part#: 1616793 UPC#: 0 95969 10699 3 Handy all-in-one kit that includes: 3 Test Lead Sets: TL940 Mini-Hook Test Lead Set TL950 Mini-Pincer Test Lead Set TL960 Micro-Hook Test Lead Set | Fluke | BỘ | 1
30 | PANEL-MOUNT SOCKET SLB4-F | Item number 23.3000-21 Diameter of plug system 4 mm Rated Values 1000 V, CAT III, 24 A / 600 V, CAT IV, 24 A Surface treatment electrical contact Au Base material electrical contact CuZn Standard color BLACK Test accessory acc. to IEC EN 61010-2-030 Supplied assembly material MUR/M12x0,75; SSP4 | Staubli | PCE | 20
31 | PANEL-MOUNT SOCKET SLB4-F | Item number 23.3000-22 Diameter of plug system 4 mm Rated Values 1000 V, CAT III, 24 A / 600 V, CAT IV, 24 A Surface treatment electrical contact Au Base material electrical contact CuZn Standard color RED Test accessory acc. to IEC EN 61010-2-030 Supplied assembly material MUR/M12x0,75; SSP4 | Staubli | PCE | 20
32 | PANEL-MOUNT SOCKET SLB4-F | Item number 23.3000-23 Diameter of plug system 4 mm Rated Values 1000 V, CAT III, 24 A / 600 V, CAT IV, 24 A Surface treatment electrical contact Au Base material electrical contact CuZn Standard color BLUE Test accessory acc. to IEC EN 61010-2-030 Supplied assembly material MUR/M12x0,75; SSP4 | Staubli | PCE | 20
33 | PANEL-MOUNT SOCKET SLB4-F | Item number 23.3000-24 Diameter of plug system 4 mm Rated Values 1000 V, CAT III, 24 A / 600 V, CAT IV, 24 A Surface treatment electrical contact Au Base material electrical contact CuZn Standard color YELLOW Test accessory acc. to IEC EN 61010-2-030 Supplied assembly material MUR/M12x0,75; SSP4 | Staubli | PCE | 20
34 | RG58-Silishield (Type SILI-SC 0,5/1,0) | TYPE: SILI-SC0.5/1.0B - Order No: 61.7580-21 - coaxial; RG58; 1x0.5mm2; stranded; Cu; Core section: 0.5mm2 - Insulation colour:black - Cable external diameter: 4.9mm - Rated voltage: 1 kV | Staubli | m | 25
35 | RG58-Silishield (Type SILI-SC 0,5/1,0) | Type: SILI-SC0.5/1.0B - Order No: 61.7580-22 - coaxial; RG58; 1x0.5mm2; stranded; Cu; Core section: 0.5mm2 - Insulation colour:red - Cable external diameter: 4.9mm - Rated voltage: 1 kV | Staubli | m | 25
36 | FlexiVolt-E Highly flexible basic insulated stranded wire | Type: FLEXI-E/HK 0,50 Order No: 60.7005-21 Outer diamete: 2.1 mm Rated voltage: 500 AC V Rated current: 10A Test voltage: 6 kV - Insulation colour:black | Staubli | m | 100
37 | FlexiVolt-E Highly flexible basic insulated stranded wire | Type: FLEXI-E/HK 0,50 Order No: 60.7005-22 Outer diamete: 2.1 mm Rated voltage: 500 AC V Rated current: 10A Test voltage: 6 kV - Insulation colour:red | Staubli | m | 100
38 | FlexiVolt-E Highly flexible basic insulated stranded wire | Type: FLEXI-E/HK 0,50 Order No: 60.7005-23 Outer diamete: 2.1 mm Rated voltage: 500 AC V Rated current: 10A Test voltage: 6 kV - Insulation colour: blue | Staubli | m | 100
39 | FlexiVolt-E Highly flexible basic insulated stranded wire | Type: FLEXI-E/HK 0,50 Order No: 60.7005-24 Outer diamete: 2.1 mm Rated voltage: 500 AC V Rated current: 10A Test voltage: 6 kV - Insulation colour: yellow | Staubli | m | 100